## Slide 1
Long baseline interferometry in the visible: Recent progress on FRIEND project
Marc-Antoine Martinod
Denis Mourard, Karine Perraut, Philippe Berio, Jean-Michel Clausse, Anthony Meilland, and CHARA staff
CHARA Meeting – March 2016

## Slide 2: Outline
Short presentation of FRIEND prototype
Coupling efficiency and limiting magnitude
Instrumental visibility
Closure phase
Adaptive optics and injection
Notes: Remplacer Recap par short presentation of FRIEND prototype

## Slide 3: Short presentation of FRIEND prototype
Notes: Estimator works with averarage quantities !

## Slide 4
2016-09-29
E1E2W2
r0 = 10 cm
1 Cal:
  HD3360: mR = 3.74
1 Sci:
  HD5394: mR = 2.32
V 5.076
V 5.076
Observations
2016-09-30
E1W2W1
r0 = 14 cm
3 Cal:
  HD3360: mR = 3.74
  HD2905: mR = 4.02
  HD3240: mV = 5.076
2 Sci:
  HD5394: mR = 2.32
  HD11415: mR = 3.4

## Slide 5: Coupling efficiency and limiting magnitude
Limiting magnitude defined by flux in photometric channels

## Slide 6: Coupling efficiency and limit magnitude
r0 = 14 cm @ 550 nm => ρexpected = 2,6%
Measured flux and magnitude
tCHARA = 1.7%
tFRIEND+OCAM = 31.5%
=> ρestimated = 2.8% with no adaptive optics
Notes: Préciser que rho_estimated est issu des varies données du run de septembre

## Slide 7: Coupling efficiency and limiting magnitude
Limiting mag defined by photometric channels
For faint stars, flux at 0 or less
Photometric sorting:
->20~25% of frames
With:
No AO
Notes: Avec un couplage de 2,8% et sans oA
On dit pas trop low mag mais plutôt faint stars
Mag=4.1 : 20~25% of frames

## Slide 8: Instrumental visibility
Optimization : OPD rejection method
(low spectral resolution)
Notes: OPD rejection basse resolution spectrale

## Slide 9: Instrumental visibility
2016-09-29
2016-09-30
Notes: 3 bases

## Slide 10: Instrumental visibility
Stability of Base 1 on 09-29
Determination of Vinstr stable with or without HD2905 (relative variation between fits < 1%)
Vinstr does not seem night-dependent

## Slide 11: Instrumental visibility
Decrease on other bases: due to alignment drifts of pupils ?
Stability with respect to atmospheric condition:
  No strong variation of the seeing during and between the nights
  Systematic errors unseen ?
  Keep investigating
Notes: Atmosphere : à approfondir
En plus du pupil drift il faut certainement se poser la question de l’injection. Est-ce qu’elle a été suffisamment controlée à chaque étoile? Non et il le faudrait probablement. Se rappeler qu’on est en train d’apprendre à fonctionner avec un instrument fibré monomode.

## Slide 12: Closure phase
Bispectrum:
Re(B0)
Re(B1)
Re(B0)
Closure phase:
, determined by Monte-Carlo
Notes: Sigma defined by max in modulus

## Slide 13: Closure phase
2016-09-29
2016-09-30
Notes: 30/09: réjection de points : 2 derniers blocs de 3360 et 2 pts de 2905
29/09 : 3360 : 7 degrés, 5394 : 4 degrés
30/09: 3360 : 15 degrés, 5394 : 30 degrés
Cela aurait été bien de conserver les mêmes couleurs pour zeta et gamma dans les deux nuits… c’est plus direct à lire. Noir=zeta cas et bleu= gamma par exemple.

## Slide 14: Closure phase
2016-09-29:
2016-09-30: with 1 cal
with 2 cal
=> Stability of with respect to the calibrators
=> Investigating on possible instrumental effects
Notes: -0.01+-0.01: tu ne peux pas parler d’une erreur systématique, ce n’est pas significatif. Tu dois dire qu’à 1 sigma c’est stable, un point c’est tout.
Ok par cotnre pour le 30. Et justifier sur d’éventuels effets isntrumentaux en cours d’inevstogation. Pa splus.

## Slide 15: Adaptive optics and injection
Observations
(with T.Ten Brummelaar, M.Anderson, J.Sturmann, L.Sturmann, C.Farrington, N. Vargas, VEGA team)
2017-03-08
S2
r0 = 7 cm
Target: Sirius
AO modes:
  Labao
  Open loop
  Labao + own TT
  Fast TT
2017-03-10
S1S2
r0 = 8 cm
Target: Procyon
AO modes:
  Labao
  Open loop
Notes: Préciser: Observations avec Theo, Matt, Judit, Laszlo, Chris and Norm + VEGA team.

## Slide 16: Adaptive optics and injection
2017-03-08
2017-03-10

## Slide 17: Conclusion and prospects
Limiting magnitude: characterized and quantified
Instrumental visiblity:
  Stable with respect to magnitude and night-dependent
  Very sensitive to pupil drifts?
Closure phase:
  First measurements of CP quite accurate
  Keep characterizing (magnitude, AO)
AO and Injection:
  AO improves a bit injection in FRIEND
  Correlate FRIEND and AO data
Martinod et al 2017 in prep.

## Slide 18: Zoom CP 09/29

## Slide 19: Zoom CP 09/30

## Slide 20: Bias CP

## Slide 21: Bias CP